MH CONSTRUCTION, INC.

Industrial Safety & Health Program (MISH)

FORM-MISH-14 | Hot Work Permit

Rev. 3 | Effective: 04/07/2026 | Safety Officer: Matt Ramsey

――――――――――――――――――――――――――――――――――――――――――――――――――――――――――――――――――――――――――――――――

Project Information:

| Project Name / Number: | _________________________ |
| --- | --- |
| Job Site Address: | _________________________ |
| Date: | _________________________ |
| Supervisor / Foreman: | _________________________ |
| Employee Name(s): | _________________________ |
| Subcontractor: | _________________________ |

Permit Details:

Permit Number: [DATE]-[MISH##]-[SEQ]

Pre-work Conditions Checklist:

☐ Area inspected and cleared of combustibles

☐ Fire watch established and equipped

☐ Fire extinguisher readily available

☐ Proper ventilation ensured

☐ Flammable materials removed or protected

☐ Sprinkler systems protected from accidental activation

☐ Hot work equipment in good condition

☐ Adjacent areas checked for hazards

Work Authorization:

| Work Description | Location | Start Time | End Time | Authorized By |
| --- | --- | --- | --- | --- |

Required Controls:

☐ Welding screens/barriers in place

☐ Proper grounding of equipment

☐ Adequate ventilation for fumes

☐ Personal Protective Equipment (PPE) utilized

☐ Standby personnel (if required)

☐ Post-work fire watch for 30 minutes

Atmospheric Testing Log (Hot Work):

| Time | O2% | LEL% | CO ppm | H2S ppm | Tested By |
| --- | --- | --- | --- | --- | --- |

Permit Closure:

Work completed: ___________  Area restored: ___________

Permit closed by: ___________  Signature: ___________  Date/Time: ___________

Regulatory Authority

OSHA: 29 CFR 1926 Subpart J; 29 CFR 1926.350 Gas Welding and Cutting; 29 CFR 1926.351 Arc Welding and Cutting; 29 CFR 1926.352 Fire Prevention WISHA: WAC 296-155-400 Gas Welding and Cutting; WAC 296-155-405 Arc Welding and Cutting; WAC 296-155-410 Fire Prevention AGC: Safety and Health Manual Ch. 9 Welding and Cutting This form supports compliance with the above regulations. Retain completed forms for minimum 3 years per 29 CFR 1904.33 and WAC 296-27.

Prepared by: _________________________ | Title: _________________________ | Date: _________________________

Reviewed by: _________________________ | Title: _________________________ | Date: _________________________