MH CONSTRUCTION, INC.

Industrial Safety & Health Program (MISH)

FORM-MISH-33 | Floor Opening and Open-Sided Surface Inspection

Rev. 3 | Effective: 04/07/2026 | Safety Officer: Matt Ramsey

――――――――――――――――――――――――――――――――――――――――――――――――――

| Project Name / Number: | ____________________________________________________ |
| --- | --- |
| Job Site Address: | ____________________________________________________ |
| Date: | ____________________________________________________ |
| Supervisor / Foreman: | ____________________________________________________ |
| Employee Name(s) (where applicable): | ____________________________________________________ |
| Subcontractor (where applicable): | ____________________________________________________ |

## Inspection Checklist

Inspection frequency note: Per 29 CFR 1926.20(b)(2) and WAC 296-880-050, regular and frequent inspections of the job site, materials, and equipment shall be made by competent persons.

| Item # | Inspection Item | Pass | Fail | N/A | Corrective Action Required |
| --- | --- | --- | --- | --- | --- |
| 1 | Floor openings properly guarded (per 29 CFR 1926.502(b)) | ☐ | ☐ | ☐ |  |
| 2 | Open-sided floors/platforms properly guarded (per 29 CFR 1926.502(b)) | ☐ | ☐ | ☐ |  |
| 3 | Covers for floor openings secured and marked (per 29 CFR 1926.502(i)) | ☐ | ☐ | ☐ |  |
| 4 | Guardrail systems meet height requirements (per 29 CFR 1926.502(b)(1)) | ☐ | ☐ | ☐ |  |
| 5 | Midrails installed (per 29 CFR 1926.502(b)(2)) | ☐ | ☐ | ☐ |  |
| 6 | Toeboards installed where required (per 29 CFR 1926.502(b)(3)) | ☐ | ☐ | ☐ |  |
| 7 | Guardrail systems capable of withstanding 200 lbs force (per 29 CFR 1926.502(b)(4)) | ☐ | ☐ | ☐ |  |
| 8 | Holes 2 inches or more in diameter covered or guarded (per 29 CFR 1926.501(b)(4)) | ☐ | ☐ | ☐ |  |
| 9 | Skylight openings protected (per 29 CFR 1926.501(b)(4)) | ☐ | ☐ | ☐ |  |
| 10 | Protection from falling objects provided (per 29 CFR 1926.501(c)) | ☐ | ☐ | ☐ |  |
| 11 | All fall protection equipment inspected prior to use (per 29 CFR 1926.502(d)(21)) | ☐ | ☐ | ☐ |  |
| 12 | Access to work areas clear and unobstructed | ☐ | ☐ | ☐ |  |
| 13 | Housekeeping maintained to prevent trip hazards | ☐ | ☐ | ☐ |  |
| 14 | Warning lines used where appropriate (per 29 CFR 1926.502(f)) | ☐ | ☐ | ☐ |  |
| 15 | Safety nets installed and maintained (per 29 CFR 1926.502(c)) | ☐ | ☐ | ☐ |  |

### Deficiency Log

| Item # | Description of Deficiency | Corrective Action | Assigned To | Due Date | Completed Date |
| --- | --- | --- | --- | --- | --- |

### Inspector Signature Block

Inspector Name: _________________________ Signature: _________________________ Date: _______________

Supervisor Review: _________________________ Signature: _________________________ Date: _______________

Regulatory Authority
OSHA: 29 CFR 1926 Subpart M; 29 CFR 1926.502(b) Guardrail Systems; 29 CFR 1926.502(i) Covers
WISHA: WAC 296-880 Unified Fall Protection covers floor openings open-sided surfaces and ramps
AGC: Safety and Health Manual Ch. 7 Fall Protection
This form supports compliance with the above regulations. Retain completed forms for minimum 3 years per 29 CFR 1904.33 and WAC 296-27.

Prepared by: _________________________ | Title: _________________________ | Date: _________________________

Reviewed by: _________________________ | Title: _________________________ | Date: _________________________