CONTROLLED ENTERPRISE DOCUMENT TBT-25.01 ¦ Control Panel Installation And Low Voltage MH Construction, INC Enterprise Management System Document family: TOOLBOX TALK LIBRARY Document title: TBT-25.01 ¦ Control Panel Installation And Low Voltage Version: 1.0 ¦ Lifecycle: Rough Draft Use only after required functional, technical, field-usability, and approval gates are complete.

Control: Version 1.0 | Status Rough Draft | Author and Chief Editor: Matt Ramsey | Co-Editor: Todd Shoeff | Final Approver: Jeremy Thamert

# TBT-25.01: Control Panel Installation & Low Voltage

CSI Division: Div 25 | Track Assignment: Track 3 MEP & Interior

## DIRECTIVE

Even low voltage systems (24V) pose a risk if shorted. Ensure power sources are isolated before terminating control wires.

## GENERAL ORDER

Keep control panels clean and free of metal shavings. Use insulated tools when working near energized components.

## Key Hazards & Mitigation (The 'What If')

- Wire stripped while live — isolate power, follow LOTO.

- Metal shaving falls onto circuit board — vacuum out, do not blow with compressed air.

- Working in tight electrical closet — ensure adequate lighting and clear exit path.

## FIELD INSTRUCTION

Foreman: Verify all power sources to the control panel are locked out before termination begins.

## Attendance Roster (MISH-F-10.1)

| Print Name | Signature | Date |
| --- | --- | --- |

Toolbox Talk Documentation & Sign-Off
This Toolbox Talk (TBT) is a mandatory component of the MH Construction, INC Industrial Safety & Health (MISH) Program. All site personnel, including subcontractors and temporary laborers, must attend this briefing before commencing related work activities. 

The Site Safety Commander or designated Foreman is responsible for delivering this content, ensuring comprehension, and documenting attendance. Failure to adhere to the safety protocols outlined herein may result in disciplinary action up to and including removal from the jobsite.

By signing the daily attendance log (Form MISH-F-10.1), you acknowledge that you have received, understood, and agree to comply with the safety directives presented in this Toolbox Talk.