CONTROLLED ENTERPRISE DOCUMENT SDS-QR-11 ¦ Lead Acid Batteries MH Construction, INC Enterprise Management System Document family: SDS LIBRARY Document title: SDS-QR-11 ¦ Lead Acid Batteries Version: 1.0 ¦ Lifecycle: Rough Draft Use only after required functional, technical, field-usability, and approval gates are complete.

Control: Version 1.0 | Status Rough Draft | Author and Chief Editor: Matt Ramsey | Co-Editor: Todd Shoeff | Final Approver: Jeremy Thamert

# SDS Quick Reference: Lead-Acid Batteries (Wet, Filled with Acid)

Manufacturer: Various (Interstate, Deka, etc.)

## DIRECTIVE — Hazard Identification

DANGER: Contains sulfuric acid. Causes severe skin burns and eye damage. May form explosive hydrogen gas during charging. Contains lead (toxic).

### GENERAL ORDER — First Aid Measures

• EYES: Flush immediately with water for at least 15 minutes. Seek medical attention.

• SKIN: Remove contaminated clothing. Flush skin with water.

• SPILL: Neutralize acid spills with baking soda (sodium bicarbonate).

#### FIELD INSTRUCTION — Required PPE

FIELD INSTRUCTION: Wear chemical-resistant apron, acid-resistant gloves, and a face shield when handling leaking batteries or adding water during charging.