MH CONSTRUCTION, INC.

Industrial Safety & Health Program (MISH)

FORM-MISH-12 | Flammable Combustible Liquids Inspection Checklist

Rev. 3 | Effective: 04/07/2026 | Safety Officer: Matt Ramsey

────────────────────────────────────────────────────────────────────────────────────────────────────

## Project Information

| Project Name / Number: | ____________________________________________________ |
| --- | --- |
| Job Site Address: | ____________________________________________________ |
| Date: | ____________________________________________________ |
| Supervisor / Foreman: | ____________________________________________________ |
| Employee Name(s) (where applicable): | ____________________________________________________ |
| Subcontractor (where applicable): | ____________________________________________________ |

## Inspection Checklist

Inspection frequency note: Refer to applicable OSHA/WISHA requirements for inspection frequency.

| Item # | Inspection Item | Pass | Fail | N/A | Corrective Action Required |
| --- | --- | --- | --- | --- | --- |
| 1 | Are flammable liquids stored in approved containers? (per 29 CFR 1926.152(a)(1)) | ☐ | ☐ | ☐ |  |
| 2 | Are storage cabinets labeled "FLAMMABLE - KEEP FIRE AWAY"? (per 29 CFR 1926.152(b)(2)(iii)) | ☐ | ☐ | ☐ |  |
| 3 | Is the storage area free of weeds, debris, and other combustible materials? (per 29 CFR 1926.152(c)(5)) | ☐ | ☐ | ☐ |  |
| 4 | Are "No Smoking" signs posted in storage areas? (per 29 CFR 1926.152(b)(3)) | ☐ | ☐ | ☐ |  |
| 5 | Are fire extinguishers readily available near storage areas? (per 29 CFR 1926.152(d)(1)) | ☐ | ☐ | ☐ |  |
| 6 | Are containers closed when not in use? (per 29 CFR 1926.152(f)(1)) | ☐ | ☐ | ☐ |  |
| 7 | Is dispensing of flammable liquids done in a safe manner? (per 29 CFR 1926.152(e)(2)) | ☐ | ☐ | ☐ |  |
| 8 | Are safety cans used for handling flammable liquids? (per 29 CFR 1926.152(a)(1)) | ☐ | ☐ | ☐ |  |
| 9 | Are temporary heating devices located away from combustible materials? (per WAC 296-155-280(1)) | ☐ | ☐ | ☐ |  |
| 10 | Are temporary heating devices properly ventilated? (per WAC 296-155-280(2)) | ☐ | ☐ | ☐ |  |
| 11 | Are fuel lines and connections for heating devices secure and leak-free? (per WAC 296-155-280(3)) | ☐ | ☐ | ☐ |  |
| 12 | Are heating devices placed on stable, non-combustible surfaces? (per WAC 296-155-280(4)) | ☐ | ☐ | ☐ |  |
| 13 | Is there adequate clearance around heating devices? (per WAC 296-155-280(5)) | ☐ | ☐ | ☐ |  |
| 14 | Are employees trained on the safe use of flammable liquids? (per AGC Ch. 8) | ☐ | ☐ | ☐ |  |
| 15 | Are emergency procedures established for spills or fires? (per AGC Ch. 8) | ☐ | ☐ | ☐ |  |

## Deficiency Log

| Item # | Description of Deficiency | Corrective Action | Assigned To | Due Date | Completed Date |
| --- | --- | --- | --- | --- | --- |

## Inspector Signature

| Inspector Name | Signature | Date |
| --- | --- | --- |
| Supervisor Review | Signature | Date |

Regulatory Authority OSHA: 29 CFR 1926 Subpart F; 29 CFR 1926.152 Flammable Liquids WISHA: WAC 296-155-270 Flammable Liquids; WAC 296-155-280 Temporary Heating Devices AGC: Safety and Health Manual Ch. 8 Fire Safety This form supports compliance with the above regulations. Retain completed forms for minimum 3 years per 29 CFR 1904.33 and WAC 296-27.

Prepared by: ________________________ | Title: ________________________ | Date: ________________________

Reviewed by: ________________________ | Title: ________________________ | Date: ________________________