MH CONSTRUCTION, INC.

Industrial Safety & Health Program (MISH)

FORM-MISH-13 | Fire Prevention Inspection Checklist

Rev. 3 | Effective: 04/07/2026 | Safety Officer: Matt Ramsey

────────────────────────────────────────────────────────────────────────────────────────────────────

### PROJECT INFORMATION

| Project Name / Number |  |
| --- | --- |
| Job Site Address |  |
| Date |  |
| Supervisor / Foreman |  |
| Employee Name(s) (where applicable) |  |
| Subcontractor (where applicable) |  |

### INSPECTION CHECKLIST

Inspection frequency: Monthly (per 29 CFR 1926.150(c)(1) and WAC 296-155-260)

| Item # | Inspection Item | Pass | Fail | N/A | Corrective Action Required |
| --- | --- | --- | --- | --- | --- |
| 1 | Are all fire extinguishers properly charged and inspected monthly? (per 29 CFR 1926.150(c)(1)) | ☐ | ☐ | ☐ |  |
| 2 | Are fire extinguishers readily accessible and unobstructed? (per 29 CFR 1926.150(c)(1)(viii)) | ☐ | ☐ | ☐ |  |
| 3 | Are 'No Smoking' signs posted in designated areas? (per 29 CFR 1926.151(a)(3)) | ☐ | ☐ | ☐ |  |
| 4 | Are flammable liquids stored in approved containers and cabinets? (per 29 CFR 1926.152(a)(1)) | ☐ | ☐ | ☐ |  |
| 5 | Is proper ventilation provided when handling flammable liquids? (per 29 CFR 1926.152(g)(3)) | ☐ | ☐ | ☐ |  |
| 6 | Are ignition sources controlled in areas where flammable materials are present? (per 29 CFR 1926.151(b)(1)) | ☐ | ☐ | ☐ |  |
| 7 | Are waste materials and debris properly disposed of to prevent fire hazards? (per 29 CFR 1926.25(c)) | ☐ | ☐ | ☐ |  |
| 8 | Are temporary heating devices safely installed and maintained? (per 29 CFR 1926.154(a)) | ☐ | ☐ | ☐ |  |
| 9 | Are fire brigades organized and trained if required? (per 29 CFR 1926.150(a)(5)) | ☐ | ☐ | ☐ |  |
| 10 | Are fire alarms and communication systems functional? (per 29 CFR 1926.150(e)) | ☐ | ☐ | ☐ |  |
| 11 | Are emergency exits clearly marked and unobstructed? (per WAC 296-155-260(2)) | ☐ | ☐ | ☐ |  |
| 12 | Is hot work being performed with appropriate permits and fire watch? (per WAC 296-155-265(1)) | ☐ | ☐ | ☐ |  |
| 13 | Are combustible materials stored away from heat sources? (per WAC 296-155-265(2)) | ☐ | ☐ | ☐ |  |
| 14 | Are electrical cords and equipment in good condition and not overloaded? (per WAC 296-155-265(3)) | ☐ | ☐ | ☐ |  |
| 15 | Are employees trained on fire prevention and emergency procedures? (per WAC 296-155-260(1)) | ☐ | ☐ | ☐ |  |

### DEFICIENCY LOG

| Item # | Description of Deficiency | Corrective Action | Assigned To | Due Date | Completed Date |
| --- | --- | --- | --- | --- | --- |

### INSPECTOR SIGNATURE

| Inspector Name |  | Signature |  |
| --- | --- | --- | --- |
| Date |  | Supervisor Review |  |

Regulatory Authority OSHA: 29 CFR 1926 Subpart F; 29 CFR 1926.150 Fire Protection; 29 CFR 1926.151 Fire Prevention WISHA: WAC 296-155-260 Fire Protection; WAC 296-155-265 Fire Prevention AGC: Safety and Health Manual Ch. 8 Fire Prevention This form supports compliance with the above regulations. Retain completed forms for minimum 3 years per 29 CFR 1904.33 and WAC 296-27.

| Prepared by: |  | Title: |  | Date: |  |
| --- | --- | --- | --- | --- | --- |
| Reviewed by: |  | Title: |  | Date: |  |