MH CONSTRUCTION, INC.

Industrial Safety & Health Program (MISH)

FORM-MISH-22 | Scaffold Erection and Inspection Checklist

Rev. 3 | Effective: 04/07/2026 | Safety Officer: Matt Ramsey

| Project Name / Number | _____________________________________________________ |
| --- | --- |
| Job Site Address | _____________________________________________________ |
| Date | _____________________________________________________ |
| Supervisor / Foreman | _____________________________________________________ |
| Employee Name(s) | _____________________________________________________ |
| Subcontractor | _____________________________________________________ |

Inspection Frequency Note: Scaffolds must be inspected by a competent person prior to each work shift and after any occurrence which could affect its structural integrity (e.g., severe weather, impact). (per 29 CFR 1926.451(f)(3) and WAC 296-869-200(2))

| Item # | Inspection Item | Pass | Fail | N/A | Corrective Action Required |
| --- | --- | --- | --- | --- | --- |
| 1 | Base plates and mudsills are level and sound (per 29 CFR 1926.451(c)(2)) | ☐ | ☐ | ☐ | _____________________________________________________ |
| 2 | Scaffold is plumb, level, and square (per 29 CFR 1926.451(d)(3)) | ☐ | ☐ | ☐ | _____________________________________________________ |
| 3 | All components are in good condition and free from damage (per 29 CFR 1926.451(b)(1)) | ☐ | ☐ | ☐ | _____________________________________________________ |
| 4 | Guardrails are installed on all open sides and ends of platforms (per 29 CFR 1926.451(g)(4)) | ☐ | ☐ | ☐ | _____________________________________________________ |
| 5 | Midrails are installed approximately halfway between the toprail and the platform surface (per 29 CFR 1926.451(g)(4)(ii)) | ☐ | ☐ | ☐ | _____________________________________________________ |
| 6 | Toeboards are installed on all open sides and ends of platforms (per 29 CFR 1926.451(g)(4)(iii)) | ☐ | ☐ | ☐ | _____________________________________________________ |
| 7 | Platforms are fully planked or decked between the front uprights and the guardrail supports (per 29 CFR 1926.451(b)(1)) | ☐ | ☐ | ☐ | _____________________________________________________ |
| 8 | Platforms are secured to prevent displacement (per 29 CFR 1926.451(b)(2)) | ☐ | ☐ | ☐ | _____________________________________________________ |
| 9 | Access to scaffold is safe and appropriate (ladders, ramps, etc.) (per 29 CFR 1926.451(e)) | ☐ | ☐ | ☐ | _____________________________________________________ |
| 10 | Scaffold is tied, guyed, or braced as required (per 29 CFR 1926.451(c)(1)) | ☐ | ☐ | ☐ | _____________________________________________________ |
| 11 | Competent person has inspected scaffold before each shift (per 29 CFR 1926.451(f)(3)) | ☐ | ☐ | ☐ | _____________________________________________________ |
| 12 | Fall protection is provided for employees working on scaffolds 10 feet or more above a lower level (per 29 CFR 1926.451(g)(1)) | ☐ | ☐ | ☐ | _____________________________________________________ |
| 13 | Scaffold is not overloaded (per 29 CFR 1926.451(a)(1)) | ☐ | ☐ | ☐ | _____________________________________________________ |
| 14 | Electrical hazards are identified and controlled (per 29 CFR 1926.451(f)(6)) | ☐ | ☐ | ☐ | _____________________________________________________ |
| 15 | Overhead protection is provided where necessary (per 29 CFR 1926.451(f)(7)) | ☐ | ☐ | ☐ | _____________________________________________________ |
| 16 | Wheels and casters are locked on mobile scaffolds (per 29 CFR 1926.452(w)(2)) | ☐ | ☐ | ☐ | _____________________________________________________ |
| 17 | Scaffold is erected, dismantled, or altered only under the supervision of a competent person (per 29 CFR 1926.451(f)(1)) | ☐ | ☐ | ☐ | _____________________________________________________ |
| 18 | Training has been provided to all employees working on scaffolds (per 29 CFR 1926.454) | ☐ | ☐ | ☐ | _____________________________________________________ |
| 19 | Clearances from power lines are maintained (per 29 CFR 1926.451(f)(6)) | ☐ | ☐ | ☐ | _____________________________________________________ |
| 20 | Debris chutes or other means are used to remove debris (per 29 CFR 1926.451(f)(8)) | ☐ | ☐ | ☐ | _____________________________________________________ |

| Item # | Description of Deficiency | Corrective Action | Assigned To | Due Date | Completed Date |
| --- | --- | --- | --- | --- | --- |

Inspector Name: _________________________	Signature: _________________________	Date: ______________
Supervisor Review: _________________________	Signature: _________________________	Date: ______________

Regulatory Authority OSHA: 29 CFR 1926 Subpart L; 29 CFR 1926.451 General Requirements; 29 CFR 1926.454 Training Requirements WISHA: WAC 296-869 Scaffolds AGC: Safety and Health Manual Ch. 16 Scaffolding This form supports compliance with the above regulations. Retain completed forms for minimum 3 years per 29 CFR 1904.33 and WAC 296-27.

Prepared by: _________________________ | Title: _________________________ | Date: ______________
Reviewed by: _________________________ | Title: _________________________ | Date: ______________