MH CONSTRUCTION, INC.

Industrial Safety & Health Program (MISH)

FORM-MISH-29 | Electrical Safety Pre-Task JHA

Rev. 3 | Effective: 04/07/2026 | Safety Officer: Matt Ramsey

| Project Name / Number: |  | Supervisor / Foreman: |  |
| --- | --- | --- | --- |
| Job Site Address: |  | Employee Name(s): |  |
| Date: |  | Subcontractor: |  |

Task Description: ______________________________________________________________________

| Pre-Task Hazard Identification: ☐ Live electrical circuits/equipment ☐ Overhead power lines ☐ Underground utilities ☐ Wet or damp conditions ☐ Damaged cords or tools ☐ Lack of GFCI protection ☐ Inadequate lighting ☐ Confined space entry required ☐ Lockout/Tagout required ☐ Arc flash potential | Required PPE: ☐ Hard Hat (Class E) ☐ Safety Glasses ☐ Voltage Rated Gloves ☐ Leather Protectors ☐ Arc Flash Face Shield ☐ FR Clothing ☐ EH Rated Footwear ☐ Hearing Protection |
| --- | --- |

Job Hazard Analysis:

| Step # | Task Step Description | Potential Hazard | Hazard Control Measure | Responsible Party |
| --- | --- | --- | --- | --- |
| 1 | Identify electrical circuits/equipment | Shock, electrocution | Verify circuits are de-energized using a tested voltage meter | Electrician |
| 2 | Apply Lockout/Tagout (LOTO) | Unexpected energization | Apply personal locks and tags to energy isolation devices | Authorized Employee |
| 3 | Inspect tools and cords | Shock from damaged equipment | Visually inspect all tools and cords before use; remove damaged items | All Workers |
| 4 | Work near overhead lines | Electrocution from contact | Maintain minimum 10-foot clearance; use spotter if necessary | Operator/Spotter |
| 5 | Use temporary power | Shock in wet conditions | Ensure all temporary power circuits have GFCI protection | Electrician/Foreman |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |
| 9 |  |  |  |  |
| 10 |  |  |  |  |

Emergency Contacts: Nearest Hospital: ____________________ | Emergency Number: 911 | Site First Aid Location: ____________________

Regulatory Authority OSHA: 29 CFR 1926 Subpart K; 29 CFR 1926.404 Wiring Design and Protection GFCI; 29 CFR 1926.416 General Requirements; 29 CFR 1926.417 Lockout and Tagging WISHA: WAC 296-155-426 Introduction; WAC 296-155-428 General Requirements; WAC 296-155-429 Lockout and Tagging of Circuits; WAC 296-155-447 Wiring Design and Protection AGC: Safety and Health Manual Ch. 21 Electrical Safety This form supports compliance with the above regulations. Retain completed forms for minimum 3 years per 29 CFR 1904.33 and WAC 296-27.

Prepared by: ________________________ | Title: ________________________ | Date: ________________________

Reviewed by: ________________________ | Title: ________________________ | Date: ________________________