| MH Construction, Inc. 3111 N. Capitol Ave., Pasco, WA 99301 ¦ (509) 308-6489 | FORM 02-E Rev 1.0 ¦ April 2026 |
| --- | --- |

DAILY SITE SAFETY INSPECTION CHECKLIST

Category: Safety Program  |  Aligned with AGC CSEA, OSHA 29 CFR 1926, WAC 296-155

────────────────────────────────────────────────────────────────────────────────

REVISION & APPROVAL RECORD

| Document | Revision | Effective Date | Approved By |
| --- | --- | --- | --- |
| FORM 02-E | 1.0 | April 2026 | Matt Ramsey, Safety Officer |

| Project Name: | __________________________________________________ |
| --- | --- |

| Date: | __________________________________________________ |
| --- | --- |

| Inspector Name: | __________________________________________________ |
| --- | --- |

| Weather Conditions: | __________________________________________________ |
| --- | --- |

Site Safety Inspection Items

| ✓ | Item | Notes / Initials |
| --- | --- | --- |
| ☐ | Housekeeping — walkways clear, debris removed, materials stored properly |  |
| ☐ | PPE — all workers wearing required PPE for their task |  |
| ☐ | Fall Protection — guardrails, covers, harnesses in place per MISH-21 |  |
| ☐ | Ladders — proper angle, secured top and bottom, in good condition |  |
| ☐ | Scaffolding — fully planked, guardrails installed, inspected by competent person |  |
| ☐ | Excavations — sloped/shored/shielded, access/egress within 25 ft, spoil piles 2 ft back |  |
| ☐ | Electrical — GFCI in use, cords undamaged, no open panels |  |
| ☐ | Tools — inspected, guards in place, no damaged cords |  |
| ☐ | Fire Extinguishers — accessible, charged, inspected within 30 days |  |
| ☐ | First Aid Kit — stocked and accessible |  |
| ☐ | Emergency Contact List — posted at site |  |
| ☐ | OSHA Poster — posted at site |  |
| ☐ | Hazard Communication — SDS binder accessible, containers labeled |  |
| ☐ | Confined Spaces — identified, permitted if required, atmospheric testing done |  |
| ☐ | LOTO — energy control procedures in place for maintenance tasks |  |
| ☐ | Hot Work — permit issued, fire watch assigned, extinguisher present |  |
| ☐ | Vehicles / Equipment — pre-trip inspections completed |  |
| ☐ | Signage / Barricades — traffic control in place per MISH-20 |  |
| ☐ | Silica Controls — wet methods / LEV / respirators per MISH-17 |  |
| ☐ | Heat Stress Controls — water, shade, rest breaks per MISH-15 |  |

Deficiencies / Corrective Actions Required: ______________________________________________________________________

__________________________________________________________________________________________

__________________________________________________________________________________________

__________________________________________________________________________________________

SIGNATURES & AUTHORIZATION

DocuSign Note: Each signature field below corresponds to a DocuSign recipient role. Assign roles before sending.

| Inspector / Supervisor | Safety Officer |
| --- | --- |
| Signature: ________________________________________ | Signature: ________________________________________ |
| Print Name: _________________________ Date: ____________ | Print Name: _________________________ Date: ____________ |

MH Construction, Inc.  |  3111 N. Capitol Ave., Pasco, WA 99301  |  (509) 308-6489  |  office@mhc-gc.com  |  www.mhc-gc.com  |  Veteran Owned